## Slide 1: On the use of artificial intelligence for smarter district heating networks – Introduction to Panel discussion
Erik Dahlquist,
Malardalen University, Eskilstuna/Vasteras, Sweden

## Slide 2: Traditional DH
Heat from power plant due to experience after weather forecast.
Set out (temp and flowrate) and return temperatures. Good margine.
Don´t really know what result as temperature in buildings as a function of this. Just look at return temp.
Don´t know more than briefly how the heat is distributed in the net

## Slide 3: Want for the future
A possibility to distribute heat an get feed back on temperature in customers buildings. Want to sell a service – good comfort!
Want to make a possibility to store heat in buildings – new business models
Want to get better control of how long it takes from the power plant to the different parts of the DHN to distribute more precise to different parts
Get better understanding of not only temperature related demand but also hot water demand
Want to include not only heat from power plant but also from distributed generation in e.g. buildings and industries.
Use DHN also for cooling by absorption heat pumps
Use both high and low temperature in the DHN – reduce losses

## Slide 4: What actions to take?
Use a combination of physical and statistical models to predict heat(cool) distribution better. Use temperatures in buildings to give feed-back for enhanced prediction (tune load models)
Predict heat/cool deamnd long in advance. Can give possibility to load or deload heat in buildings in advance, but normally people don´t mind a variation in temp with 2-3 oC if they see an incentive from this like reduced cost. Every customer can make a wish list for what temperatures to strive for and what limits are acceptable.
Optimize electricity, heat, cool and possible production of bio-chemicals
Optimize the whole chain from fuel source to production, distribution and consumption/use.

## Slide 5: Good examples?
Stockholm (Vattenfall) have started to contract heat supplies from locals to the grid. Also in Copenhagen and Stoke on Trent.
Built load prediction models using combined physical models and ML in Vasteras. Enhanced the grid temperature control significantly
Optimization of complete chain for Waste boiler in Vasteras at Malarenergy. Waste from UK by ship + from trucks locally. Waste sorting, CHP for heat and power production. DHN optimization using above.
Low temperature systems – tested at several sites

## Slide 6: What more can be done?
How are local conditions affecting the possibilities (giving limitations)?
Is low temperature systems always good?
How do we address a future decreased heat demand but increased cooling demand in many areas due to global warming?
Is it possible to get as effcient DCN as DHN? Under what conditions?
Is heat-cool storage of relevance everywhere?